## 22 Spires Road
Karbon Homes
BUDGET PRICING SUMMARY
Scheme: | 22 Spires Lane
Hobby Room
Date: | 3 October 2025
Budget: | 97833.1392 | Including VAT
Section |  | Item |  |  | Location | Description | Qty | Unit | Rate | Price £ | Prelims Split | Total (ex VAT)
1 | Preliminaries | 1.01 | Preliminaries | Preliminaries | All | Undertake works in accordance with preliminaries specification. |  | % | 20 |  |  | 9667.24
2 | Asbestos | 2.01 | Asbestos | Asbestos Survey | All | Undertake asbestos survey to property prior to works. | 1 | item | 300 | 300 | 60 | 360
2 | Asbestos | 2.02 | Asbestos | Asbestos Removal | All | Allow a PC Sum for removal of asbestos found. | 1 | item | 1000 | 1000 | 200 | 1200
3 | Communal External | 3.01 | Hardstanding | Concrete Paving | All | Clean down existing concrete paving to externals. | 1 | pc sum | 250 | 250 | 50 | 300
4 | Block External | 4.01 | Scaffold | Scaffold | All | Allowance for access scaffold to undertake works. | 1 | item | 1500 | 1500 | 300 | 1800
4 | Block External | 4.02 | Cladding | Cladding | All | Redecorate existing timber cladding to elevations. Allow to use paints and colours as described in the Byker Estate Heritage Partnership Agreement (HPA). Allow to patch repair timbers where found necessary. | 35 | m² | 55 | 1925 | 385 | 2310
4 | Block External | 4.03 | Doors | External Door | Front Door | Following consultation with local authority Conservation Officer, replace existing front door with new Byker style door. | 1 | nr | 1850 | 1850 | 370 | 2220
4 | Block External | 4.04 | Entrance | Fire Exit Door | Level Access | Allow to lower existing door and frame to side entrance and make good walls. Supply and fit insulated spandrell panel over door to resultant gap. | 1 | item | 400 | 400 | 80 | 480
4 | Block External | 4.05 | Roof | Roof Covering | Valley Gutter | Allowance to clean out, inspect and repair where found necessary box guttering. Include to treat any corroded metal and decorate area to match existing. | 1 | pc sum | 500 | 500 | 100 | 600
4 | Block External | 4.06 | Roof | Roof Covering | Front Extension | Allow to clean and prepare the existing profiled metal roof sheets. Treat sheets with edge corrosion protection and re-paint roof to match existing colour. | 1 | pc sum | 4000 | 4000 | 800 | 4800
4 | Block External | 4.07 | Roof | Sun Pipes | Sun Pipes | Supply and fit new sunpipes and associated flashings to front sloped roof and make good internal finishes affected. | 2 | nr | 750 | 1500 | 300 | 1800
5 | Block Internal | 5.01 | Remodelling Works | Stripping Out | General | Allow to isolate all plumbing as required for the works. Allow to reconnect on completion and commission where required. | 1 | item | 350 | 350 | 70 | 420
5 | Block Internal | 5.02 | Remodelling Works | Stripping Out | General | Allow to remove items currently stored on site and dispose. | 1 | item | 450 | 450 | 90 | 540
5 | Block Internal | 5.03 | Remodelling Works | Stripping Out | Main | Strip out all fixture, fittings, furniture and sink including tiling and dispose from site. | 1 | item | 300 | 300 | 60 | 360
5 | Block Internal | 5.04 | Remodelling Works | Stripping Out | WC | Strip out all WC sanitary ware including wall tiling, handles, timber boxings and dispose from site. | 2 | item | 300 | 600 | 120 | 720
5 | Block Internal | 5.05 | Remodelling Works | WC | WC | Allow to take down existing partition walls and construct new partiton walls to location shown on drawing. Supply and fit new door set and new Doc M WC, WHB and hand rails as per Storm Tempest Proposed Layout Drawing. | 1 | item | 4000 | 4000 | 800 | 4800
5 | Block Internal | 5.06 | Remodelling Works | Stripping Out | All | Strip out existing desks, shelves etc. and dispose from site. | 1 | item | 100 | 100 | 20 | 120
5 | Block Internal | 5.07 | Electrical | Full Rewire | All | Allow a PC Sum to remove existing electrical system, including lighting and dispose off site. Supply and fit new electrical system to IEE 18th Edition. Liaise with client for socket and lighting locations and requirements. Allow to chase cables into walls and make good surfaces. New lighting to be LED and to provide suitable illumination for the use of the rooms, with consultation with the client. Allow to enclose consumer unit in fire rated enclosure. Provide all commissioning certificates. | 1 | PC Sum | 7000 | 7000 | 1400 | 8400
5 | Block Internal | 5.08 | Electrical | Ventilation | WC | Supply and fit mechanical extract fan to WC and to kitchen area. Allow to core drill through external wall to provide ducting. Allow to provide electrical connection, including illuminated isolating switched fuse spur located over door. | 2 | nr | 500 | 1000 | 200 | 1200
5 | Block Internal | 5.09 | Electrical | Ventilation | Main Area | Disconnect and strip out existing ventilation fan and grille to main area of building. Make good ceiling. | 1 | item | 350 | 350 | 70 | 420
5 | Block Internal | 5.1 | Doors | Locking | Front and rear | Supply and fit new thumbturn locks to front and rear doors to allow for easy egress in an emergency. | 2 | nr | 100 | 200 | 40 | 240
5 | Block Internal | 5.11 | Windows | Timber Window Repairs | All | Undertake repairs to timber window frames to ensure weather tight and in good repair. | 1 | item | 500 | 500 | 100 | 600
5 | Block Internal | 5.12 | Windows | Timber Window Repairs | Double Glazed Unit | Carefully remove existing defective double glazing to lower panel of window. Replace with new double glazed unit. | 1 | item | 500 | 500 | 100 | 600
5 | Block Internal | 5.13 | Windows | Timber Windows Repairs | Window Frame | Prepare and decorate window frame and surrounds. | 6 | nr | 110 | 660 | 132 | 792
5 | Block External | 5.14 | Security | Roller Shutters | Windows to front | Supply and fit new steel roller shutters over window to front elevation and main side elevation. | 2 | item | 1000 | 2000 | 220 | 2220
5 | Block External | 5.15 | Security | Bars | Small windows to rear and side. | Supply and fit new steel security bars to windows fitted internally to rear window and small side window. Decorate to match surrounding walls. | 2 | item | 500 | 1000 | 110 | 1110
5 | Block Internal | 5.16 | Walls | Plaster | All Walls & Ceiling | Undertake full plaster re-skim to all internal partion walls and ceilings following alterations. | 1 | item | 3000 | 3000 | 600 | 3600
5 | Block Internal | 5.17 | Walls | Fire Risk | Fire Compartmentation | Supply and install ablative coated batts and intumesncent sealant above the head of the door in the understairs cupboard. | 1 | item | 250 | 250 | 50 | 300
5 | Block Internal | 5.18 | Decoration | Decoration | All | Decorate all walls and ceilings with 2 coats of emulsion paint to clients approval. Decorate all timber with 2 coats of white gloss. | 1 | item | 2000 | 2000 | 400 | 2400
5 | Block Internal | 5.19 | Floor Coverings | Floor Coverings | Main | Take up existing floor coverings and dispose of. Supply and fit new Altro Stronhold 30 vinyl safety flooring throughout to clients approval. | 69 | m² | 50 | 3450 | 690 | 4140
5 | Block Internal | 5.2 | Floor Coverings | Non Slip Floor Coverings | WC, Kitchen | Take up existing floor coverings and dispose of. Supply and fit Tarka non slip floor coverings to clients approval. Allow to mastic seal perimeter and weld all joints where required. | 24 | m² | 56.3 | 1351.2 | 270.24 | 1621.44
5 | Block Internal | 5.21 | Cleaning | Cleaning | All | On completion, clean down all surfaces, floors, walls, windows etc. | 1 | item | 200 | 200 | 40 | 240
5 | Block Internal | 5.22 | Fixtures & Fittings | Fixtures & Fittings | Kitchen | Allow a PC Sum to remove and supply and fit new kitchen. | 1 | pc sum | 1200 | 1200 | 240 | 1440
5 | Block Internal | 5.23 | Fixtures & Fittings | Kitchen | Bakery | Supply and install suitable oven and hobs. | 1 | item | 3000 | 3000 | 600 | 3600
5 | Block Internal | 5.24 | Fixtures & Fittings | Kitchen | Bakery | Supply and install suitable extract ventilation to kitchen area. | 1 | item | 2000 | 2000 | 400 | 2400
5 | Block Internal | 5.25 | Security | Security | All | Supply and fit security alarm system. | 1 | item | 1000 | 1000 | 200 | 1200
6 | Fees | 6.01 | Fees | Consultancy Fees | Consultancy Fees | Fee for pre and post contract works, including managing project to completion. | 1 | item | 8315 | 8315 |  | 8315
6 | Fees | 6.02 | Fees | Consultancy Fees | Consultancy Fees | For M&E Design | 1 | pc sum | 3000 | 3000 |  | 3000
6 | Fees | 6.03 | Fees | Consultancy Fees | Consultancy Fees | Fees for Heritage Architect consultation - JDDK Architects | 1 | item | 960 | 960 |  | 960
6 | Fees | 6.04 | Fees | Consultancy Fees | Consultancy Fees | Fees for CDM. | 2 | pc sum | 901 | 1802 |  | 1802
6 | Fees | 6.05 | Fees | Local Authority Fees | Statutory Fees | Fees for Planning Permission and Building Control Approval. | 1 | pc sum | 2000 | 2000 |  | 2000
6 | Fees | 6.06 | Fees | Contingency | Contingency | Allowance for unforseen works @ 7.5%. | 1 | item |  |  |  | 6097.176
[9 empty] | TOTALS | 65763.2 | 9667.24 | 81527.616
Notes
* | No intrusive investigations have been undertaken at this stage. | [9 empty] | VAT | 16305.5232
* | Surveys undertaken by Mark Harrison of Storm Tempest Ltd. | [9 empty] | Total +VAT | 97833.1392
* | Scheme remodelling proposals are based on discussions with Karbon Homes local team.
* | No allowance has been made for surveys, reports, investigations etc.